## Survey Measurements
Name | Latitude | Longitude | Elevation | Dial | Calibrated Dial | Day | Month | Year | Hour | Minute | Tidal Effect | Loop | Residual
1143 | -41.2904 | 174.686 | 100 | 4321.0249 | 1004321.025 | 5 | 10 | 2020 | 19 | 41 | 0.075725 | 1 | -0.0011782
1143 | -41.2904 | 174.686 | 100 | 4321.0252 | 1004321.025 | 5 | 10 | 2020 | 19 | 42 | 0.075564 | 1 | -0.00075441
1143 | -41.2904 | 174.686 | 100 | 4321.0238 | 1004321.024 | 5 | 10 | 2020 | 19 | 43 | 0.075398 | 1 | -0.0020264
1143 | -41.2904 | 174.686 | 100 | 4321.0219 | 1004321.022 | 5 | 10 | 2020 | 19 | 44 | 0.075229 | 1 | -0.0037941
Avalon_Base_Absolute | -41.1962 | 174.9328 | 21 | 4332.9 | 1004332.9 | 5 | 10 | 2020 | 20 | 34 | 0.061205 | 1 | -0.0026003
Avalon_Base_Absolute | -41.1962 | 174.9328 | 21 | 4332.9002 | 1004332.9 | 5 | 10 | 2020 | 20 | 35 | 0.060829 | 1 | -0.0020621
Avalon_Base_Absolute | -41.1962 | 174.9328 | 21 | 4332.9 | 1004332.9 | 5 | 10 | 2020 | 20 | 36 | 0.06045 | 1 | -0.0019201
Avalon_Base_Absolute | -41.1962 | 174.9328 | 21 | 4332.8996 | 1004332.9 | 5 | 10 | 2020 | 20 | 37 | 0.060067 | 1 | -0.0019745
AC6D | -41.1145 | 175.232 | 554.9 | 4230.1564 | 1004230.156 | 5 | 10 | 2020 | 21 | 39 | 0.029314 | 1 | 0.0046308
AC6D | -41.1145 | 175.232 | 554.9 | 4230.1615 | 1004230.162 | 5 | 10 | 2020 | 21 | 40 | 0.028742 | 1 | 0.010265
AC6D | -41.1145 | 175.232 | 554.9 | 4230.1582 | 1004230.158 | 5 | 10 | 2020 | 21 | 41 | 0.028168 | 1 | 0.0075016
AC6D | -41.1145 | 175.232 | 554.9 | 4230.1521 | 1004230.152 | 5 | 10 | 2020 | 21 | 42 | 0.027592 | 1 | 0.0019408
AC71 | -41.1188 | 175.3761 | 42.5 | 4332.0867 | 1004332.087 | 5 | 10 | 2020 | 22 | 3 | 0.014731 | 1 | 0.0010406
AC71 | -41.1188 | 175.3761 | 42.5 | 4332.0863 | 1004332.086 | 5 | 10 | 2020 | 22 | 4 | 0.014117 | 1 | 0.0012165
AC71 | -41.1188 | 175.3761 | 42.5 | 4332.0862 | 1004332.086 | 5 | 10 | 2020 | 22 | 5 | 0.013503 | 1 | 0.0016937
AC71 | -41.1188 | 175.3761 | 42.5 | 4332.084 | 1004332.084 | 5 | 10 | 2020 | 22 | 6 | 0.012887 | 1 | 7.2294e-05
Tuturumuri_FES_Absolute | -41.4271 | 175.4714 | 130 | 4416.5279 | 1004416.528 | 5 | 10 | 2020 | 23 | 27 | -0.037465 | 1 | 0.0033695
Tuturumuri_FES_Absolute | -41.4271 | 175.4714 | 130 | 4416.5251 | 1004416.525 | 5 | 10 | 2020 | 23 | 28 | -0.038057 | 1 | 0.0011249
Tuturumuri_FES_Absolute | -41.4271 | 175.4714 | 130 | 4416.5258 | 1004416.526 | 5 | 10 | 2020 | 23 | 29 | -0.038648 | 1 | 0.0023784
Tuturumuri_FES_Absolute | -41.4271 | 175.4714 | 130 | 4416.5245 | 1004416.524 | 5 | 10 | 2020 | 23 | 30 | -0.039237 | 1 | 0.0016303
Tuturumuri_FES_Absolute | -41.4271 | 175.4714 | 130 | 4416.5099 | 1004416.51 | 5 | 10 | 2020 | 23 | 48 | -0.049511 | 1 | -0.0033674
Tuturumuri_FES_Absolute | -41.4271 | 175.4714 | 130 | 4416.5105 | 1004416.51 | 5 | 10 | 2020 | 23 | 49 | -0.050062 | 1 | -0.0022545
Tuturumuri_FES_Absolute | -41.4271 | 175.4714 | 130 | 4416.5076 | 1004416.508 | 5 | 10 | 2020 | 23 | 50 | -0.05061 | 1 | -0.0046435
Tuturumuri_FES_Absolute | -41.4271 | 175.4714 | 130 | 4416.5134 | 1004416.513 | 5 | 10 | 2020 | 23 | 51 | -0.051155 | 1 | 0.0016641
AC71 | -41.1188 | 175.3761 | 42.5 | 4331.9913 | 1004331.991 | 6 | 10 | 2020 | 0 | 59 | -0.081922 | 1 | -0.0042771
AC71 | -41.1188 | 175.3761 | 42.5 | 4331.9955 | 1004331.996 | 6 | 10 | 2020 | 1 | 0 | -0.082244 | 1 | 0.00020627
AC71 | -41.1188 | 175.3761 | 42.5 | 4331.9942 | 1004331.994 | 6 | 10 | 2020 | 1 | 1 | -0.082561 | 1 | -0.00081391
AC71 | -41.1188 | 175.3761 | 42.5 | 4331.9956 | 1004331.996 | 6 | 10 | 2020 | 1 | 2 | -0.082874 | 1 | 0.00086155
AC6D | -41.1145 | 175.232 | 554.9 | 4230.0315 | 1004230.032 | 6 | 10 | 2020 | 1 | 25 | -0.088799 | 1 | -0.010594
AC6D | -41.1145 | 175.232 | 554.9 | 4230.0329 | 1004230.033 | 6 | 10 | 2020 | 1 | 26 | -0.089012 | 1 | -0.0090178
AC6D | -41.1145 | 175.232 | 554.9 | 4230.0398 | 1004230.04 | 6 | 10 | 2020 | 1 | 27 | -0.089221 | 1 | -0.0019468
AC6D | -41.1145 | 175.232 | 554.9 | 4230.0388 | 1004230.039 | 6 | 10 | 2020 | 1 | 28 | -0.089426 | 1 | -0.0027795
Avalon_Base_Absolute | -41.1962 | 174.9328 | 21 | 4332.7677 | 1004332.768 | 6 | 10 | 2020 | 2 | 46 | -0.091455 | 1 | 0.0038643
Avalon_Base_Absolute | -41.1962 | 174.9328 | 21 | 4332.7665 | 1004332.766 | 6 | 10 | 2020 | 2 | 47 | -0.091311 | 1 | 0.0024835
Avalon_Base_Absolute | -41.1962 | 174.9328 | 21 | 4332.7646 | 1004332.765 | 6 | 10 | 2020 | 2 | 48 | -0.091163 | 1 | 0.0003985
Avalon_Base_Absolute | -41.1962 | 174.9328 | 21 | 4332.7663 | 1004332.766 | 6 | 10 | 2020 | 2 | 49 | -0.091011 | 1 | 0.0019089
1143 | -41.2904 | 174.686 | 100 | 4320.8867 | 1004320.887 | 6 | 10 | 2020 | 3 | 26 | -0.08257 | 1 | 0.0015455
1143 | -41.2904 | 174.686 | 100 | 4320.8912 | 1004320.891 | 6 | 10 | 2020 | 3 | 27 | -0.082272 | 1 | 0.0057094
1143 | -41.2904 | 174.686 | 100 | 4320.8847 | 1004320.885 | 6 | 10 | 2020 | 3 | 28 | -0.08197 | 1 | -0.0011293
1143 | -41.2904 | 174.686 | 100 | 4320.8878 | 1004320.888 | 6 | 10 | 2020 | 3 | 29 | -0.081664 | 1 | 0.0016275

## Gravity Results and Reductions
Name | Absolute Gravity | Standard Error | Number of Observations | Latitude | Longitude | Elevation | Ellipsoidal gravity | Free air effect | Free air anomaly
1143 | 980256.03 | 0.005 | 7 | -41.2904 | 174.686 | 100 | 980285.1918 | -30.86 | 1.6982
AC6D | 980165.207 | 0.011 | 8 | -41.1145 | 175.232 | 554.9 | 980269.4186 | -171.2421 | 67.0305
AC71 | 980267.144 | 0.005 | 8 | -41.1188 | 175.3761 | 42.5 | 980269.8083 | -13.1155 | 10.4512
Avalon_Base_Absolute | 980267.918 | 0.004 | 8 | -41.1962 | 174.9328 | 21 | 980276.7464 | -6.4806 | -2.3478
Tuturumuri_FES_Absolute | 980351.624 | 0.004 | 8 | -41.4271 | 175.4714 | 130 | 980297.4563 | -40.118 | 94.2857

## Gravimeter Drift
Loop ID | Drift (mGal per hour)
1 | -0.0022432

## Beta Calibration Factor
Beta Calibration factor
9.958703549690695e-05 | 0.9999

## Meta Data About Solution
Method Used:
Method 1: Normal Least Squares
Beta Calibration Factor Calculated Or Provided?:
Calculated
Loops used?:
No
Ellipsoid Used for reductions:
GRS80
Input file
Data_CG-6_Calibration_Survey_20201006.xlsx
Reference gravity
Avalon_Base_Absolute | 980267.918 | -41.1962 | 174.9328 | 21
Tuturumuri_FES_Absolute | 980351.624 | -41.4271 | 175.4714 | 130
Residual confidence
100
Meter
104